Residential Certificate of Inspection (CI) for all Sales and Rentals

Please Note the following Important Information:

- PLEASE SEE ATTACHED FEE SCHEDULE CHANGES.

- PLEASE SEE ATTACHED CHECKLIST/SELF-INSPECTION FORM.

- All applications MUST be Typed or Printed Legibly and Complete.

- All Tenants over 18 years old MUST sign the Affidavit page and submit a clear copy of their Driver’s License or other Legal form of Identification.

- All Utilities MUST be ON before the Inspection.

- All Water/Sewer and Taxes MUST BE paid in full.

- For Sale of a property, prior to closing, Water Meters MUST have a Final Reading.
There is a $20.00 charge for each Meter Reading.

All Rules and Regulations regarding the proper disposal
of Garbage, Recycling, Bulk Items, etc MUST be followed. Municipal Calendars containing this helpful information can be obtained at the Borough Hall.

All State Statutes and Borough Ordinances WILL BE Strictly Adhered to.

This page MUST be Signed, Dated and Submitted along with the C.I. Application.

_________________________________________			___________________ 
**Owner, Buyer or Agent Signature Required**	                                                      Date

Buying, Selling or Renting property without issuance of a Certificate of Inspection
is punishable by law, with fines not exceeding $2000.00.

The Code Enforcement Officer shall charge and collect the following fees:

- For applications for Certificates of Inspections for sales, $120.00 per dwelling, house, or unit.

- For applications for Certificates of Inspection for rentals, including Summer Rental Licenses, $120.00 per dwelling, house, or unit, plus a $50.00 tourism fee

FOR SEASONAL RENTALS:

C. For applications for Certificate of Inspection for each change in the occupancy as a Summer Rental, $75.00 per dwelling, house or unit, plus a $25.00 tourism fee.

SIX MONTH SELF INSPECTION FEE OPTION:

• The six month rental license is valid from April 1st through September 30th or October 1st through March 31st.

• Pay a Self-Inspection fee of $150.00 per dwelling, house, or unit. Plus a $50.00 tourism fee for each six month       period.

• Upon any change in occupancy, the licensee shall complete and file the Certificate of Self-Inspection Form, submit a list of occupants & submit a clear copy of a Driver’s License or other legal form of identification for all tenants 18 years of age and over.

• No further re-inspection fees are required during the six month period.  A new license and inspection is required for each six month period.

Block_______________
													Lot ______ Qual ______
												               Tax ______W/S_______
Residential Certificate of Inspection (CI) for all Sales & Rentals
*ALL APPLICATIONS MUST BE TYPED*

I hereby request an inspection and issuance of a Certificate of Inspection as provided for in the Borough Ordinance No.9-4.1.

Name of Prospective Buyer or Tenant: ________________________________________ Phone #: ________________________
				
Present Address: ______________________________________City:_______________________State:_______Zip:____________
                           		(List All Occupants with Birthdates, including Children, on page 3 of the C.I. Application.)
Driver’s License # (for rentals only):_______________________________________________________________ State:__________

Date of Occupancy:___________________________________ Date of Closing: _________________________________________

         ADDRESS OF INSPECTION:_________________________________________________________Unit #:_______________

Please Mark (X):   Sale (     Summer Rental (       Winter Rental (      Yearly Rental (     3 Year Re-Inspection (  Six Month Rental License (

(additional fees apply)
Present Owner/Seller:______________________________________________________Phone #:__________________________

Address:_______________________________________________________City:_______________State:_______Zip:__________

INSPECTION DATE REQUESTED:	 _______________________________________________________________________________________

Please call 732-681-3232 ext. 212 for available inspection dates

*Application MUST BE submitted at least seven (7) days prior to Inspection. Key(s) MUST BE attached or owner/agent MUST accompany the Inspector. Application WILL NOT be considered complete unless ALL information is filled in and
the Real Estate Tax & Water/Sewer bill is Paid in Full.  Someone MUST be present for all 3 year Re-Inspections.*

FEES:	$120.00 for EACH Sale, Rental or 3yr Re-Inspection of a Dwelling, House or Unit.
		$50.00 Tourism Fee for EACH Rental. 					*Separate Checks are Required*	
		$250.00 for Re-Inspection. 				    		       *Fees are NON-Refundable*
		$500.00 for Additional Inspections (After the 1st & 2nd Inspections).

Signature of Owner/Seller/Agent*: ____________________________________________________________________________
*Agency Name:_______________________________________________ Agent: _______________________________________
Address:___________________________________________ Phone #: ____________________ Fax#: ______________________

Signature of Buyer/Agent*:___________________________________________________________________________________
*Agency Name: ___________________________________________________Agent:____________________________________
Address:___________________________________________ Phone #: ____________________ Fax#: ______________________

SIGNATURE OF TENANT:______________________________________________________________________________________
				(MANDATORY FOR RENTALS… AGENT MAY NOT SIGN FOR A TENANT)

~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~FOR OFFICIAL USE ONLY~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~
C.I. FEE_________________TOURISM FEE_________________ RECEIVED BY__________________________ DATE______________________
# of BDRMS______________INSPECTED BY_________________________________________INSPECTION DATE ________________________
CERTIFICATE OF INSPECTION #_______________________OCCUPANCY __________________ DATE ISSUED ____________________________

SIX MONTH RENTAL LICENSE:  SUMMER (  OFF SEASON (   LICENSE FEE: ______ TOURISM FEE: ______

Transfer of Title Information
***Must be filled out for all Property Sales***

Seller’s Attorney:

Name:	__________________________________________________

Address:	__________________________________________________

__________________________________________________

Telephone:	__________________________________________________

Fax:		__________________________________________________

Buyer’s Attorney:

Name:	__________________________________________________

Address:	__________________________________________________

__________________________________________________

Telephone:	__________________________________________________

Fax:		__________________________________________________

Will the property be owner occupied?	Yes ______		No ______

List Names of All Occupants (including Children): Birthdates of Occupants (including Children):

_______________________________	______________________________

_______________________________	______________________________

_______________________________	______________________________

_______________________________	______________________________

_______________________________	______________________________

_______________________________	______________________________

_______________________________	______________________________

_______________________________	______________________________
Whether you are Buying or Renting this residence…

Please Check here ______ if your children are going to use the Public School System

and make sure their names are listed above with their birthdates.

Thank You!

Other Comments:   ___________________________________________________

__________________________________________________________________

__________________________________________________________________

__________________________________________________________________

_______________ ___________________________________________________

__________________________________________________________________

__________________________________________________________________

__________________________________________________________________

__________________________________________________________________

ALL TENANTS OVER 18yrs OLD MUST SIGN AN AFFIDAVIT:
Please state whether address is (PR) Previous or (PE) Permanent.

AFFIDAVIT
I certify that the following information is
true regarding this application:
Name: _____________________________
Address: ___________________________
__________________________________
Phone#: ___________________________

Signature:__________________________
Date: ______________________________


AFFIDAVIT
I certify that the following information is
true regarding this application:
Name: _____________________________
Address: ___________________________
__________________________________
Phone#: ___________________________

Signature:__________________________
Date: ______________________________


AFFIDAVIT
I certify that the following information is
true regarding this application:
Name: _____________________________
Address: ___________________________
__________________________________
Phone#: ___________________________

Signature:__________________________
Date: ______________________________

AFFIDAVIT
I certify that the following information is
true regarding this application:
Name: _____________________________
Address: ___________________________
__________________________________
Phone#: ___________________________

Signature:__________________________
Date: ______________________________


AFFIDAVIT
I certify that the following information is
true regarding this application:
Name: _____________________________
Address: ___________________________
__________________________________
Phone#: ___________________________

Signature:__________________________
Date: ______________________________


AFFIDAVIT
I certify that the following information is
true regarding this application:
Name: _____________________________
Address: ___________________________
__________________________________
Phone#: ___________________________

Signature:__________________________
Date: ______________________________

Tenant Vehicle Information

VEHICLE #1							VEHICLE #2

OWNER:							OWNER:

MAKE:							MAKE:

MODEL:							MODEL:

COLOR:							COLOR:

LICENSE PLATE #:						LICENSE PLATE #:

VEHICLE #3							VEHICLE #4

OWNER:							OWNER:

MAKE:							MAKE:

MODEL:							MODEL:

COLOR:							COLOR:

LICENSE PLATE #:						LICENSE PLATE #:

VEHICLE #5							VEHICLE #6

OWNER:							OWNER:

MAKE:							MAKE:

MODEL:							MODEL:

COLOR:							COLOR:

LICENSE PLATE #:						LICENSE PLATE #:

VEHICLE #7							VEHICLE #8

OWNER:							OWNER:

MAKE:							MAKE:

MODEL:							MODEL:

COLOR:							COLOR:

LICENSE PLATE #:						LICENSE PLATE #:

Checklist for Certificate of Inspection
Please note that this is only a guide

EXTERIOR CHECK

- Flaking paint must be scraped and repainted

- Must have street numbers: minimum of 3"

- Foundations and exterior wall: no holes or cracks

- All trim in good condition

- Chimneys and towers in good repair

- Windows & Window Screens free of breaks, cracks or holes

- Handrails and guards are tight and in good repair

- All sidewalks and steps should be free of cracks, holes & hazardous conditions

- All open permits must have completed with passed inspections on file.

- All exterior outlets shall be G.F.C.I. (Permit required)

- No debris, bulk garbage, etc is to be left around property

INTERIOR CHECK

- No cracks in door jambs

- All walls must have cracks filled, sanded (to uniform walls)

- All trim must be painted

- Flaking paint must be scraped and repainted

- Windows must be clean, operable and must stay in position when opened and contain window locks

- Radiators and exposed pipes must be clean and safe

- Carpeting must be clean and free of tears

- If unit is paneled, all paneling must be secured to walls, not loose

- Any tiles in drop ceiling which are stained or missing, must be replaced

- All electrical wall and ceiling fixtures must have covers

- Ground fault interrupters (GFCI) must be installed in kitchens, baths & laundry rooms (within 6' of any water)

- All electrical outlets and switches must have covers

- All furnaces must have an emergency shut off marked with a red cover

- All floors must be uniform (stained, painted or covered)

- Bath and Kitchen must have non-porous floor covering (tile or linoleum, etc)

- All utilities/fixtures must be clean and in working order (i.e., sinks, stoves, bathtubs, toilets secure to floor)

- All windows and doors must be weather tight. Windows must have screens between May 1 and October 1

- All handrails must be secure; no broken or missing spindles

- Door connecting garage to living space must be 20 minute fire rated

- All flue connections should be tight and sealed

- Water heaters must have a pressure relief valve with an extension tube extended to within 6” of the floor

- Furnace should be in safe working condition

- Carbon Monoxide & Smoke Detector(s) are Required In Basement & on Every Floor within 10’ of Bedrooms

- Bathrooms and Bedrooms must have doors

- All Kitchen and Bathroom cabinets must be secured to walls and have a means to open and close (handles)

- Units must be clean throughout and ready for occupancy. Units must be free of infestation

- Fireplaces and Woodburning Stoves must be certified to their condition by a certified chimney sweep

- All open permits must have a completed, passed inspection on file

- No keyed locks or deadbolts are permitted on interior doors.

- 10 lb Type II ABC rated Fire extinguisher must be located within 10’ feet of the kitchen,
   no more than 5’   above floor

All Utilities (Gas, Water and Electric) MUST BE operating for Inspections.
This is a Visual Inspection Only.

By the Issuance of the Certificate of Inspection, neither the Borough of Lake Como nor any of its Officers or Employees assumes any Liability, neither expressed nor implied, in connection therewith.

Self-Inspection Sheet

Address:

Owner:

Six Month License #:

EXTERIOR CHECK (please initial)

______- Flaking paint must be scraped and repainted

______- Must have street numbers: minimum of 3"

______- Foundations and exterior wall: no holes or cracks

______- All trim in good condition

______- Chimneys and towers in good repair

______- Windows & Window Screens free of breaks, cracks or holes

______- Handrails and guards are tight and in good repair

______- All sidewalks and steps should be free of cracks, holes & hazardous conditions

______- All open permits must have completed with passed inspections on file.

______- All exterior outlets shall be G.F.C.I. (Permit required)

______- No debris, bulk garbage, etc is to be left around property

INTERIOR CHECK (please initial)

______- No cracks in door jambs

______- All walls must have cracks filled, sanded (to uniform walls)

______- All trim must be painted

______- Flaking paint must be scraped and repainted

______- Windows must be clean, operable and must stay in position when opened and contain window locks

______- Radiators and exposed pipes must be clean and safe

______- Carpeting must be clean and free of tears

______- If unit is paneled, all paneling must be secured to walls, not loose

______- Any tiles in drop ceiling which are stained or missing, must be replaced

______- All electrical wall and ceiling fixtures must have covers

______- Ground fault interrupters (GFCI) must be installed in kitchens, baths & laundry rooms (within 6' of any water)

______- All electrical outlets and switches must have covers

______- All furnaces must have an emergency shut off marked with a red cover

______- All floors must be uniform (stained, painted or covered)

______- Bath and Kitchen must have non-porous floor covering (tile or linoleum, etc)

______- All utilities/fixtures must be clean and in working order (i.e., sinks, stoves, bathtubs, toilets secure to floor)

______- All windows and doors must be weather tight. Windows must have screens between May 1 and October 1

______- All handrails must be secure; no broken or missing spindles

______- Door connecting garage to living space must be 20 minute fire rated

______- All flue connections should be tight and sealed

______- Water heaters must have a pressure relief valve with an extension tube extended to within 6” of the floor

______- Furnace should be in safe working condition

______- Carbon Monoxide & Smoke Detector(s) are required In Basement & on Every Floor within 10’ of Bedrooms.        Carbon monoxide detectors are to be no more than 18” off the floor.

______- Bathrooms and Bedrooms must have doors

______- All Kitchen and Bathroom cabinets must be secured to walls and have a means to open and close (handles)

______- Units must be clean throughout and ready for occupancy. Units must be free of infestation

______- Fireplaces and Woodburning Stoves must be certified to their condition by a certified chimney sweep

______- All open permits must have a completed, passed inspection on file

______- No keyed locks or deadbolts are permitted on interior doors.

______- 10 lb Type II ABC rated Fire extinguisher must be located within 10’ feet of the kitchen,
   no more than 5’ above floor

# Text boxes

CERTIFICATE OF INSPECTION

Additional information required

Length of occupancy _______________

Drivers licenses for each tenant 	______

Vehicle Information for tenants 	______

Tenant affidavit 		______

Veh